Date of print: 2026-07-31	Created by: Dr. C. Kern	Date of creation: 2021-06-02

# List of questions for CRD measurements

- What kind of coating is to be measured, concerning optical losses? (HR/AR?)

- Which sample geometry and dimensions are intended for the measurement (size, diameter, thickness, radius of curvature)

HR coatings:

- At what wavelength(s) is the reflectivity to be measured

- At what angle(s) of incidence is the reflectivity to be measured?

  - if 45°: measurement sensitive to s-, p-polarization?

- Which reflectivities are expected (~99.8%, or >99.9%), dependent on wavelength and polarization, if desired?

- What is the expected rest transmission of measured samples?