Date of print: 2026-07-31	Created by: Dr. C. Kern	Date of creation: 2021-06-02

# List of questions for LID measurements

- Measurement of bulk material, or surface, or coatings, or combinations of the three

  - if coatings: which kind of coatings (anti-, high reflective)?

  - if bulk and/or surface: which material (glass, optical crystal, polyacrylate,…)?

- What sample geometry and dimensions are intended for the measurement (minimum, maximum)?

- At what wavelength(s) is the absorption to be measured?

- Which absorption coefficients are expected (e.g.: about 5×10-4, or ~ppm)?

- Which quality of polishing is available (roughness, parallelity)

- Are measurements intended depending on the polarization of the pump laser beam?